## Sheet1
Error_code | Tag_number | Validation_Status | Validation_message | Service_message | NNG_Tag_format | Line_sequence_control | Tag_class | Tag_discipline | Tag_description | Status | Action | Location | sub_system
#0009 | ASBJA-FT-41XXX6 | Not Valid | Class :FlowTransmitter cannot be mapped | Mapping procedure | NA |  | :FlowTransmitter | Not identified |  |  |  | ASBJ
#0009 | ASBJA-FT-41XX11 | Not Valid | Class :FlowTransmitter cannot be mapped | Mapping procedure | NA |  | :FlowTransmitter | Not identified |  |  |  | ASBJ
#0000 | ASBJ-6"-OCS-400462-BX1 | Valid | Pipeline ¦ Naming template: 'VAL_NT-7777; | Class based validation | Line |  | :PipelinePhysical | Lines | Tags from P&IDs of AVEVA Diagrams |  |  | ASBJ | 40
#0000 | ASBJ-6"-OCS-400463-BX1 | Valid | Pipeline ¦ Naming template: 'VAL_NT-7777; | Class based validation | Line |  | :PipelinePhysical | Lines | Tags from P&IDs of AVEVA Diagrams |  |  | ASBJ | 40
#0000 | ASBJ-6"-OCS-400465-BX1 | Valid | Pipeline ¦ Naming template: 'VAL_NT-7777; | Class based validation | Line |  | :PipelinePhysical | Lines | Tags from P&IDs of AVEVA Diagrams |  |  | ASBJ | 40
#0000 | ASBJ-6"-OCS-400464-BX1 | Valid | Pipeline ¦ Naming template: 'VAL_NT-7777; | Class based validation | Line |  | :PipelinePhysical | Lines | Tags from P&IDs of AVEVA Diagrams |  |  | ASBJ | 40
#0000 | ASBJ-26"-FHS-400441-AD4 | Valid | Pipeline ¦ Naming template: 'VAL_NT-7777; | Class based validation | Line |  | :PipelinePhysical | Lines | Tags from P&IDs of AVEVA Diagrams |  |  | ASBJ | 40
#0000 | ASBJ-2"-DO-501012-AR1 | Valid | Pipeline ¦ Naming template: 'VAL_NT-7777; | Class based validation | Line |  | :PipelinePhysical | Lines | Tags from P&IDs of AVEVA Diagrams |  |  | ASBJ | 50
#0000 | ASBJ-2"-FLS-400204-AD4 | Valid | Pipeline ¦ Naming template: 'VAL_NT-7777; | Class based validation | Line |  | :PipelinePhysical | Lines | Tags from P&IDs of AVEVA Diagrams |  |  | ASBJ | 40
#0000 | ASBJ-3"-CPS-570201-BD1 | Valid | Pipeline ¦ Naming template: 'VAL_NT-7777; | Class based validation | Line |  | :PipelinePhysical | Lines | Tags from P&IDs of AVEVA Diagrams |  |  | ASBJ | 57
#0000 | ASBJ-3"-CPS-570202-BD1 | Valid | Pipeline ¦ Naming template: 'VAL_NT-7777; | Class based validation | Line |  | :PipelinePhysical | Lines | Tags from P&IDs of AVEVA Diagrams |  |  | ASBJ | 57
#0000 | ASBJ-2"-DO-501051-AR1 | Valid | Pipeline ¦ Naming template: 'VAL_NT-7777; | Class based validation | Line |  | :PipelinePhysical | Lines | Tags from P&IDs of AVEVA Diagrams |  |  | ASBJ | 50
#0000 | ASBJ-2"-CPS-340249-BX1 | Valid | Pipeline ¦ Naming template: 'VAL_NT-7777; | Class based validation | Line |  | :PipelinePhysical | Lines | Tags from P&IDs of AVEVA Diagrams |  |  | ASBJ | 34
#0000 | ASBJ-4"-DO-500032-AO1 | Valid | Pipeline ¦ Naming template: 'VAL_NT-7777; | Class based validation | Line |  | :PipelinePhysical | Lines | Tags from P&IDs of AVEVA Diagrams |  |  | ASBJ | 50
#0000 | ASBJ-2"-OD-570055-AD1 | Valid | Pipeline ¦ Naming template: 'VAL_NT-7777; | Class based validation | Line |  | :PipelinePhysical | Lines | Tags from P&IDs of AVEVA Diagrams |  |  | ASBJ | 57
#0000 | ASBJ-2"-OD-570054-AD1 | Valid | Pipeline ¦ Naming template: 'VAL_NT-7777; | Class based validation | Line |  | :PipelinePhysical | Lines | Tags from P&IDs of AVEVA Diagrams |  |  | ASBJ | 57
#0000 | ASBJ-2"-DO-570057-AR1 | Valid | Pipeline ¦ Naming template: 'VAL_NT-7777; | Class based validation | Line |  | :PipelinePhysical | Lines | Tags from P&IDs of AVEVA Diagrams |  |  | ASBJ | 57
#0014 | ASBJ-2"-DO-570056-AR1 | Not Valid | Duplicated PipeLine sequence number found for: ASBJ*570056 | Duplicated PipeLine sequence number | Line |  | :PipelinePhysical | Lines | Tags from P&IDs of AVEVA Diagrams |  |  | ASBJ
#0012 | ASBJ-12"-DO-501347-AR1 | Not Valid | Duplicated Tag | Duplicated Tag | NA |  |  | Not identified
#0012 | ASBJ-12"-DO-501347-AR1 | Not Valid | Duplicated Tag | Duplicated Tag | NA |  |  | Not identified
#0014 | ASBJ-12"-DO-501347-AR2 | Not Valid | Duplicated PipeLine sequence number found for: ASBJ*501347 | Duplicated PipeLine sequence number | Line |  | :PipelinePhysical | Lines | Tags from P&IDs of AVEVA Diagrams |  |  | ASBJ
#0014 | ASBJ-2"-DO-570056-AD1 | Not Valid | Duplicated PipeLine sequence number found for: ASBJ*570056 | Duplicated PipeLine sequence number | Line |  | :PipelinePhysical | Lines | Tags from P&IDs of AVEVA Diagrams |  |  | ASBJ
#0000 | ASBHA-SOV-391401B | Valid | Electro-Hydraulic Solenoid Valve ¦ Naming template: 'VAL_NT-0155; | Class based validation | Valves (Instrumentation) |  | :SolenoidValvePhysical | Instrumentation | Tags from P&IDs of AVEVA Diagrams |  |  | ASBH
#0009 | ASLAA-CHV-290722 | Not Valid | Class :CheckValvePhysical cannot be mapped | Mapping procedure | NA |  | :CheckValvePhysical | Not identified | Tags from P&IDs of AVEVA Diagrams |  |  | ASLA
#0000 | ASLAA-HCV-300232 | Valid | Globe Valve ¦ Naming template: 'VAL_NT-0098; | Class based validation | Valves |  | :NeedleValvePhysical | PVV | Tags from P&IDs of AVEVA Diagrams |  |  | ASLA
#0001 | ASBHA-DP-180100.3 | Not Valid | Parent Tag not found in current register | Parent Tag | Instrumentation |  | :Signal | Instrumentation | Test |  |  | ASBH
#0000 | ASBHA-DP-1801 | Valid | Distribution Board ¦ Naming template: 'VAL_NT-0207_DP; | Class based validation | Electrical |  | :DistributionBoardPhysical | Electrical | Test |  |  | ASBH
#0000 | ASBJA-XCV-341150.1 | Valid | Signal ¦ Naming template: 'VAL_NT-2222_Appendix_16; | Class based validation | Signal |  | :Signal | Instrumentation | XCV COMMAND SIGNAL |  |  | ASBJ
#0000 | ASBJA-XCV-341150.2 | Valid | Signal ¦ Naming template: 'VAL_NT-2222_Appendix_16; | Class based validation | Signal |  | :Signal | Instrumentation | XCV COMMAND SIGNAL |  |  | ASBJ
#0000 | ASBJA-XCV-341150.8 | Valid | Signal ¦ Naming template: 'VAL_NT-2222_Appendix_16; | Class based validation | Signal |  | :Signal | Instrumentation |  |  |  | ASBJ
#0000 | ASBJA-XCV-341150.4 | Valid | Signal ¦ Naming template: 'VAL_NT-2222_Appendix_16; | Class based validation | Signal |  | :Signal | Instrumentation |  |  |  | ASBJ
#0000 | ASBJA-XCV-341150 | Valid | Deluge Valve ¦ Naming template: 'VAL_NT-0154; | Class based validation | Valves |  | :OnOffActuatedValvePhysical | PVV | XCV |  |  | ASBJ
#0000 | ASBJA-PM-3942.1 | Valid | Signal ¦ Naming template: 'VAL_NT-2222_Appendix_16; | Class based validation | Signal |  | :Signal | Instrumentation |  |  |  | ASBJ
#0000 | ASBJA-PM-3942.3 | Valid | Signal ¦ Naming template: 'VAL_NT-2222_Appendix_16; | Class based validation | Signal |  | :Signal | Instrumentation |  |  |  | ASBJ
#0000 | ASBJA-PM-3942.5 | Valid | Signal ¦ Naming template: 'VAL_NT-2222_Appendix_16; | Class based validation | Signal |  | :Signal | Instrumentation |  |  |  | ASBJ
#0000 | ASBJA-PM-3942.8A | Valid | Signal ¦ Naming template: 'VAL_NT-2222_Appendix_16; | Class based validation | Signal |  | :Signal | Instrumentation |  |  |  | ASBJ
#0000 | ASBJA-PM-3942.8B | Valid | Signal ¦ Naming template: 'VAL_NT-2222_Appendix_16; | Class based validation | Signal |  | :Signal | Instrumentation |  |  |  | ASBJ
#0000 | ASBJA-PM-3942.9 | Valid | Signal ¦ Naming template: 'VAL_NT-2222_Appendix_16; | Class based validation | Signal |  | :Signal | Instrumentation |  |  |  | ASBJ
#0000 | ASBJA-PM-3942 | Valid | H.V. Induction Motors (U>1000 Volts) ¦ Naming template: 'VAL_NT-0047; | Class based validation | Electrical |  | :LowVoltageInductionMotorsPhysical | Electrical |  |  |  | ASBJ

## Sheet2
Tag_number | Validation_Status
ASBJA-FT-41XXX6 | Not Valid
ASBJA-FT-41XX11 | Not Valid
ASBJ-6"-OCS-400462-BX1 | Valid
ASBJ-6"-OCS-400463-BX1 | Valid
ASBJ-6"-OCS-400465-BX1 | Valid
ASBJ-6"-OCS-400464-BX1 | Valid
ASBJ-26"-FHS-400441-AD4 | Valid
ASBJ-2"-DO-501012-AR1 | Valid
ASBJ-2"-FLS-400204-AD4 | Valid
ASBJ-3"-CPS-570201-BD1 | Valid
ASBJ-3"-CPS-570202-BD1 | Valid
ASBJ-2"-DO-501051-AR1 | Valid
ASBJ-2"-CPS-340249-BX1 | Valid
ASBJ-4"-DO-500032-AO1 | Valid
ASBJ-2"-OD-570055-AD1 | Valid
ASBJ-2"-OD-570054-AD1 | Valid
ASBJ-2"-DO-570057-AR1 | Valid
ASBJ-2"-DO-570056-AR1 | Not Valid
ASBJ-12"-DO-501347-AR1 | Not Valid
ASBJ-12"-DO-501347-AR2 | Not Valid
ASBJ-2"-DO-570056-AD1 | Not Valid
ASBHA-SOV-391401B | Valid
ASLAA-CHV-290722 | Not Valid
ASLAA-HCV-300232 | Valid
ASBHA-DP-180100.3 | Not Valid
ASBHA-DP-1801 | Valid
ASBJA-XCV-341150.1 | Valid
ASBJA-XCV-341150.2 | Valid
ASBJA-XCV-341150.8 | Valid
ASBJA-XCV-341150.4 | Valid
ASBJA-XCV-341150 | Valid
ASBJA-PM-3942.1 | Valid
ASBJA-PM-3942.3 | Valid
ASBJA-PM-3942.5 | Valid
ASBJA-PM-3942.8A | Valid
ASBJA-PM-3942.8B | Valid
ASBJA-PM-3942.9 | Valid
ASBJA-PM-3942 | Valid